## GBELS Ali khan jo tar
GBELS Ali Khan jo TarSEMIS Code: (417020130 ) UC: Chanesar 1Tehsil: Sakrand District Shaheed Benazirbad
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No.7.3 : Retrofitting in schools including WASH, to mitigate flood damage to schools.
BoQ (CIVIL WORK) Latrine (4 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tenk, Main Hole, wc etc. | 3 | Job
2 | Cement plaster 1:4 upto 20' height 1/2" thick | 185 | sft
3 | 1st class brick work in Foundation, Super structure in Cement, sand mortar 1:6 | 21.5 | CFT
4 | Repair of washroom doors, inclduing panels, chowkat, bolts, hinges etc including filling of door. | 3 | Job
5 | Pre-Cast RCC slabs having size bracing thickness 2''or3", centre thickness 3/4'' Complete inclduing Girders for support & grouting above slabs | 8 | cft
6 | Providing and fixing 3/4" dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer incharge | 30 | Rft
7 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 40 | Ft
8 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 3 | No
9 | Supplying & Fixing white color water storage fiber glass tank made of 100% food grade (FGM) material, 3 to 5 layered UV resistant, approved quality and design and wall thickness as specified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons including all accessories, complete as per specifications. / Instructed by Engineer incharge) | 1 | Job
10 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop cock waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | Job
11 | Repair of Hand-pump Machine with double coat oil paint/color etc in all respect | 1 | Job
12 | Supply of plastic mug and bucket set, made of durable, high-quality plastic, suitable for daily use, complete and ready for use as approved by the Engineer. | 1 | Job
13 | Supply and installation of washroom stool/bench, made of durable, water-resistant material, smooth finish, suitable for wet areas, complete in all respects and approved by the Engineer. | 1 | Job
14 | Supply and installation of washroom hanger/hook, made of corrosion-resistant material (stainless steel ), suitable for wet areas, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
15 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | Job
16 | Supply and installation of wall-mounted soap dispenser, made of durable, corrosion-resistant material (plastic ), suitable for washroom use, including all fixing accessories, complete in all respects and approved by the Engineer. | 1 | Job
17 | Supply and placement of pedal-operated dustbin, size of dustbin in 30 liters made of durable, corrosion-resistant material (plastic), suitable for washroom use, with tight-fitting lid and foot pedal mechanism, complete in all respects and approved by the Engineer. | 1 | Job

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
Dismentalling of concrete, brick work etc
B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Brick work Septank | 1 | 4 | 5 | 1 |  | 20
| Latrine steps | 1 | 3 | 1 | 0.5 | 1.5 | 1.5
| Total Qty in CFt | [5 empty] | 21.5
1/2'' thick cement sand plaster (1:4)
| Latrine inner side wall plaster work | 2 | 20 |  | 4 |  | 160
| Latrine celling plaster work | 1 | 5 |  | 5 |  | 25
| Total Qty in SFt |  |  |  |  | .= | 185 | Sft
Pre-Caste RCC Slabs for Cabin, ST,SP
| Septic Tenk Pre-caste /RCC Cover | 1 | 4.5 | 6 | 0.25 |  | 6.75
| Main Hole Pre-caste/ RCC Cover | 1 | 2 | 2.5 | 0.25 |  | 1.25
| Total Qty in CFt | [5 empty] | 8