## GBELS Nawab Brohi
GBELS (Nawab Brohi) SEMIS Code: (402030002 ) UC: K N Shah city Ward No-1 Shah Tehsil: K N Shah District Dadu
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 : Retrofitting of GBELS schools’ of WASH facilities
BoQ (CIVIL WORK) Latrine (2 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S. No | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, Main Hole, wc etc. | 2 | Job
2 | Cement plaster 1:4 upto 20' height 1/2" thick | 30 | sft
3 | Pre-Cast RCC slabs having size bracing thickness 2''or3", center thickness 3/4'' Complete including Girders for support & grouting above slabs | 16.3125 | cft
4 | Repair of washroom doors, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
5 | Providing and fixing 3/4" dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer in-charge | 15 | Rft
6 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 6 | No
7 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 10 | Rft
8 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop cock waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | Job
9 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower motor including wiring connection with proper button complete in all respects | 1 | Job
10 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
11 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting | 1 | Nos
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
1/2'' thick cement sand plaster (1:4)
| Latrine outer side wall plaster work | 1 | 10 |  | 3 |  | 30
| Latrine celling plaster work | 0 | 5 |  | 5 |  | 0
| Latrine Steps | 0 | 10 | 1.5 | 0.5 |  | 0
| Handpump long wall plaster work | 0 | 5 |  | 1.5 |  | 0
| Hand Pump short wall plaster work | 0 | 4 |  | 1.5 |  | 0
| Total Qty in SFt |  |  |  |  | .= | 30 | Sft
Pre-Caste RCC Slabs for Cabin, ST,SP
| Septic Tenk Pre-caste /RCC Cover | 1 | 4.5 | 10 | 0.25 |  | 11.25
| Main Hole Pre-caste/ RCC Cover | 1 | 4.5 | 4.5 | 0.25 |  | 5.0625
| Total Qty in CFt | [5 empty] | 16.3125