## GBLSS Loung Rahuja
GBLSS (Loung Rahuja ) SEMIS Code: (402030485) UC: Parya Tehsil: K N Shah District Dadu
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 : Retrofitting of GBLSS schools’ of WASH facilities
BoQ (CIVIL WORK) Latrine (2 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S. No | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, Main Hole, wc water tank etc. | 1 | Job
2 | 1st class brick work in Foundation, Super structure in Cement, sand mortar 1:6 | 16.5 | cft
3 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 5 | cft
4 | Cement plaster 1:4 upto 20' height 1/2" thick | 21 | sft
5 | Repair of washroom doors, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
6 | Providing and fixing 3/4" dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer in-charge | 20 | Rft
7 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm ½" etc complete in all respects | 4 | No
8 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia etc complete in all respects | 5 | Rft
9 | Supplying & Fixing white color new water storage fiber glass tank made of 100% food grade (FGM) material, 3 to 5 layered UV resistant, approved quality and design and wall thickness as specified I/c cost of nutes, bolts and making connections for in-let, & out-let & over flow pipes with gate Valve etc. complete 150 gallons including all accessories, complete as per specifications. / Instructed by Engineer in-charge) | 1 | Job
10 | providing and fixing glazed earthen ware New hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop cock waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | Job
11 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower new motor including wiring connection complete and ready for installation | 1 | Job
12 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting proper ready for installation with switch on off button etc complete in all respects | 1 | Nos
13 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
14 | Repair of Hand-pump Machine with double coat oil paint/color etc in all respect | 1 | Job
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Brick work in Hand Pump Long wall | 2 | 5 | 0.75 | 1 |  | 7.5
| Brick work in hand pump shortwall | 2 | 4 | 0.75 | 1 | 6 | 6
| Septic Tank long wall | 0 | 7 | 0.75 | 4 |  | 0
| Septic Tank Short wall | 0 | 4 | 0.75 | 4 |  | 0
| Handpump steps | 2 | 3 | 1 | 0.5 | 3 | 3
| Total Qty in CFt | [5 empty] | 16.5
PCC (1:2:4)
| WC Platform for PCC filling and support | 0 | 4 | 4 | 0.25 |  | 0
| Septic Tank Foundation of PCC bed | 0 | 7.5 | 4.5 | 0.25 |  | 0
| Roof Upper Dside Routing | 0 | 12 | 6 | 0.25 |  | 0
| Hand Pump Platform | 1 | 5 | 4 | 0.25 |  | 5
| Total Qty in CFt | [5 empty] | 5
1/2'' thick cement sand plaster (1:4)
| Septic Tank long wall | 0 | 7 | 0.75 | 4 |  | 0
| Septic Tank Short wall | 0 | 4 | 0.75 | 4 |  | 0
| Latrine inner side and outer wall plaster work | 0 | 30 |  | 4 |  | 0
| Handpump stair plaster | 2 | 3 | 1 | 0.5 |  | 3
| Handpump long wall plaster work | 2 | 5 |  | 1 |  | 10
| Hand Pump short wall plaster work | 2 | 4 |  | 1 |  | 8
| Total Qty in SFt |  |  |  |  | .= | 21 | Sft