## GBPS Khanpur
GBPS (Khanpur) SEMIS Code: (402030231 ) UC: Mitho Babar Tehsil: K N Shah District Dadu
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 : Retrofitting of GBPS schools’ of WASH facilities
BoQ (CIVIL WORK) Latrine (3 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S. No | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, Main Hole, wc etc. | 1 | Job
2 | Dismentalling of concrete, brick work or Lead line water supply line for School etc | 12 | CFT
3 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 2 | CFT
4 | Cement plaster 1:4 upto 20' height 1/2" thick | 40 | sft
5 | Repair of Latrine door, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
6 | Providing and fixing ¾" or 1” dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer in-charge | 10 | Rft
7 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 3 | No
8 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 20 | Rft
9 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop cock waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | Job
10 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower motor including wiring connection | 1 | Job
11 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
12 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting proper ready for installation with switch on off button etc complete in all respects | 1 | Nos
13 | Providing and Fixing glazed earthen ware New white color full size WC squatting type with built-in foot rests, including P trap etc complete in all respects | 2 | Nos
14 | Repair of Hand-pump Machine and GI Pipe, section pipe with double coat oil paint/color etc in all respect | 1 | Nos
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
Dismentalling of concrete, brick work etc
| Dismentalling of WC and pipe or Excavation or Lead line water supply line for School Water Tank etc | 2 | 2 | 2 | 1.5 | .= | 12
| Total Qty in CFt | [5 empty] | 12
PCC (1:2:4)
| WC Platform for PCC filling and support or Pit | 2 | 2 | 2 | 0.25 |  | 2
| Septic Tank Foundation of PCC bed | 0 | 7.5 | 4.5 | 0.25 |  | 0
| Roof Upper side Routing | 0 | 12 | 6 | 0.25 |  | 0
| Hand Pump Platform/Apron for GI Pipe support | 0 | 1 | 1 | 0.5 |  | 0
| Total Qty in CFt | [5 empty] | 2
1/2'' thick cement sand plaster (1:4)
| Septic Tank long wall | 0 | 7 | 0.75 | 4 |  | 0
| Septic Tank Short wall | 0 | 4 | 0.75 | 4 |  | 0
| Latrine outer side wall plaster work | 1 | 10 |  | 4 |  | 40
| Latrine stair plaster | 0 | 3 | 1 | 0.5 |  | 0
| Hand-pump floor Plaster | 0 | 5 |  | 4 |  | 0
| Handpump long wall plaster work | 0 | 5 |  | 0.5 |  | 0
| Hand Pump short wall plaster work | 0 | 4 |  | 0.5 |  | 0
| Total Qty in SFt |  |  |  |  | .= | 40 | Sft