## GGPS Mitho Babar
GGPS (Mitho Babar) SEMIS Code: (402030091 ) UC: Mitho Babar Tehsil: K N Shah District Dadu
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 : Retrofitting of GGPS schools’ of WASH facilities
BoQ (CIVIL WORK) Latrine (2 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S. No | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, Main Hole, wc etc. | 1 | Job
2 | 1st class brick work in Foundation, Super structure in Cement, sand mortar 1:6 | 15 | CFT
3 | Pre-Cast RCC slabs having size bracing thickness 2''or3", center thickness 3/4'' Complete including Girders for support & grouting above slabs | 3.75 | cft
4 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 5 | CFT
5 | Cement plaster 1:4 upto 20' height 1/2" thick | 19.5 | sft
6 | Repair of washroom doors, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
7 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 1 | No
8 | P/L approved quality UPVC pipes for water supply and cowel gas supply i/c fitting, cutting, jointing, jointing material making holes in walls and filling the same with 1:4 CSM, excavation and back filling. : 4" dia | 8 | Rft
9 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
10 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting | 1 | Nos
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Brick work in Hand Pump Long wall | 2 | 5 | 0.75 | 1 |  | 7.5
| Brick work in hand pump shortwall | 2 | 4 | 0.75 | 1 | 6 | 6
| Hand pump steps | 1 | 3 | 1 | 0.5 | 1.5 | 1.5
| Total Qty in CFt | [5 empty] | 15
PCC (1:2:4)
| WC Platform floor for PCC filling and support | 0 | 2 | 2 | 1.5 |  | 0
| Hand Pump Platform | 1 | 5 | 4 | 0.25 |  | 5
| Total Qty in CFt | [5 empty] | 5
1/2'' thick cement sand plaster (1:4)
| Latrine outer side wall plaster work | 0 | 14 |  | 3 |  | 0
| Latrine celling plaster work | 0 | 5 |  | 5 |  | 0
| Hand pump Steps | 1 | 3 | 1 | 0.5 |  | 1.5
| Handpump long wall plaster work | 2 | 5 |  | 1 |  | 10
| Hand Pump short wall plaster work | 2 | 4 |  | 1 |  | 8
| Total Qty in SFt |  |  |  |  | .= | 19.5 | Sft
Pre-Caste RCC Slabs for Cabin, ST,SP
| Septic Tenk Pre-caste /RCC Cover | 1 | 3 | 5 | 0.25 |  | 3.75
| Main Hole Pre-caste/ RCC Cover | 0 | 2 | 2.5 | 0.25 |  | 0
| Total Qty in CFt | [5 empty] | 3.75