## GGPS Phulji Station
GGPS (Phulji Station) SEMIS Code: (402010241 ) UC: Pir Tarho Tehsil: Dadu District Dadu
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 : Retrofitting of GGPS schools’ of WASH facilities
BoQ (CIVIL WORK) Latrine (4 Units)
BoQ (CIVIL WORK) Latrine (2 Units) including HWS and hand pump
S. No | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tank, water tank, Main Hole, wc etc. | 1 | Job
2 | 1st class brick work in Foundation, Super structure in Cement, sand mortar 1:6 | 13.5 | cft
3 | Plain Cement Concrete including placing, compacting, finishing & curing (Ratio 1:2:4) | 3 | cft
4 | Cement plaster 1:4 upto 20' height 1/2" thick | 17 | sft
5 | Pre-Cast RCC slabs having size bracing thickness 2''or3", center thickness 3/4'' Complete including Girders for support & grouting above slabs | 4.5 | cft
6 | Repair of Latrine door, including panels, chowkat, bolts, hinges etc including filling of door. | 1 | Job
7 | Providing and fixing ¾" or 1” dia UPVC pipe Best quality include cutting etc complete including all fixtures & fittings including the excavation for pipe as directed by engineer in-charge | 20 | Rft
8 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 6 | No
9 | Supply and installation of 6-inch diameter Pak Arab UPVC drainage pipe (Gauge 41), complete in all respects, including laying in all typeswith proper bedding, alignment, and gradient as per ground situation. The item includes solvent-welded joints, all necessary fittings (bends, Solvent welded joint, tees, reducers, junctions), and connection to inspection chambers/manholes, complete as per specifications and Engineer’s instructions. | 135 | Rft
10 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop cock waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | Job
11 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower motor including wiring connection | 1 | Job
12 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
13 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting proper ready for installation with switch on off button etc complete in all respects | 1 | Nos
14 | Repair of Hand-pump Machine and GI Pipe, section pipe with double coat oil paint/color etc in all respect | 1 | Nos
TOTAL

## Measurement
DETAIL COST ESTIMATE
Latrine
S. No | Description | No. | Length (ft) | Width (ft) | Depth/Ht (ft) |  | Quantity
Dismantling of concrete, brick work etc
| Dismantling of WC and pipe or Excavation or Lead line water supply line for School Water Tank etc | 0 | 2 | 2 | 1.5 | .= | 0
| Total Qty in CFt | [5 empty] | 0
B. B work (1:4) as in super structure.
| 1st Step in Foundation | [6 empty] | Cft | 150.25 | c/c
| Brick work in Hand Pump Long wall | 2 | 4 | 0.75 | 1 |  | 6
| Brick work in hand pump shortwall | 2 | 3 | 0.75 | 1 | 4.5 | 4.5
| Septic Tank long wall | 0 | 7 | 0.75 | 4 |  | 0
| Septic Tank Short wall | 0 | 4 | 0.75 | 4 |  | 0
| Handpump steps | 2 | 3 | 1 | 0.5 | 3 | 3
| Total Qty in CFt | [5 empty] | 13.5
PCC (1:2:4)
| WC Platform for PCC filling and support or Pit | 0 | 2 | 2 | 0.25 |  | 0
| Septic Tank Foundation of PCC bed | 0 | 7.5 | 4.5 | 0.25 |  | 0
| Roof Upper side Routing | 0 | 12 | 6 | 0.25 |  | 0
| Hand Pump Platform floor /Apron for GI Pipe support | 1 | 4 | 3 | 0.25 |  | 3
| Total Qty in CFt | [5 empty] | 3
1/2'' thick cement sand plaster (1:4)
| Septic Tank long wall | 0 | 7 | 0.75 | 4 |  | 0
| Septic Tank Short wall | 0 | 4 | 0.75 | 4 |  | 0
| Latrine outer side wall plaster work | 0 | 10 |  | 4 |  | 0
| Latrine stair plaster | 2 | 3 | 1 | 0.5 |  | 3
| Hand-pump floor Plaster | 0 | 4 |  | 3 |  | 0
| Handpump long wall plaster work | 2 | 4 |  | 1 |  | 8
| Hand Pump short wall plaster work | 2 | 3 |  | 1 |  | 6
| Total Qty in SFt |  |  |  |  | .= | 17 | Sft
Pre-Caste RCC Slabs for Cabin, ST,SP
| Septic Tenk Pre-caste /RCC Cover | 1 | 4 | 4.5 | 0.25 |  | 4.5
| Main Hole Pre-caste/ RCC Cover | 0 | 2 | 2.5 | 0.25 |  | 0
| Total Qty in CFt | [5 empty] | 4.5