## G.G.L.S.S BANGULDERO AT KHAIR..
G.G.L.S.S (BANGULDERO AT KHAIRODERO) SEMIS Code: (413030344) UC: BANGULDERO AT KHAIRODERO Tehsil: BANGULDERO District: LARKANA
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3: Retrofitting of middle schools’ of WASH facilities to ensure they are MHM-inclusive for adolescent girls
BoQ (CIVIL WORK) Latrine (2 Units)
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Septic Tenk, Main Hole, wc etc. | 2 | Job
2 | Repair of wash room door, including panels, chowkat, bolts, hinges etc including filling of door. | 2 | Job
3 | Providing and fixing chromium plated (CP)bib-cock (tabs) heavy duty of approved quality : 1.5 cm ½" | 2 | No
4 | Providing and Fixing glazed earthen ware WC squatting type with built-in foot rests, including P trap etc complete in all respects :White | 1 | No
5 | Provision and installation of New Water Motor Pump with AC/DC shehzad tower motor including wiring connection | 1 | Job
6 | Repair of Hand-pump Machine with double coat oil paint/color etc in all respect | 1 | Job
7 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop covk waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all reespects | 1 | Job
8 | Provision and installation of Water Pump with AC/DC shehzad tower motor including wiring connection | 1 | Job
9 | 12 V, 100 Ah lead-acid battery, tubular, maintenance-free, manufactured by AGS/OSAKA, corrosion-resistant, sealed design, high cycle life, suitable for solar/UPS, including terminals for safe electrical connections, complete and ready for installation. | 1 | Nos
10 | Auto charge controller, 12V/24V, up to 40 A, Renogy Rover, Lumiax, SIMTEK, or equivalent; PWM type, with overcharge, over-discharge, overload, and short-circuit protection; includes terminals for wiring and mounting | 1 | Nos
TOTAL

## Milstones (3) (hidden)
Milestones, Module LB
| S.No | Milestone |  | Cost (Rs Millions) | Percentage of total Cost
GROUND FLOOR
Step 1 | 1 | Excavation, |  | #VALUE! | #VALUE!
| 2 | PCC 1:4:8
| 3 | RCC 1:2:4 in Footing
| 4 | RCC 1:2:4 in Plint beam, Neck column
| 5 | Mild Steel
| 6 | Back Filling
GROUND FLOOR
Step 2 | 1 | RCC 1:2:4 in Super Structure |  | #NAME? | #NAME?
| 2 | Mild Steel
| 3 | Filling
| 4 | Sand Filling
| 5 | PCC 1:3:6
| 6 | Termite Proofing
| 7 | Electrical Conduits 33 %
GROUND FLOOR
Step 3 | 1 | Brick work in G/F |  | #VALUE! | #VALUE!
| 2 | Steel Chokat
| 3 | Steel Window
| 4 | Wooden Joinery
| 5 | Marble Flooring
| 6 | Marble Skirting
| 7 | Plaster 1/2"
| 8 | Plaster 3/8"
| 9 | Electrical Conduits 20 % | 33%
GROUND FLOOR
Step 4 | 1 | Finishing |  | #VALUE! | #VALUE!
| 2 | Electrical Conduits 20 % | 33%
|  | Total |  | #VALUE! | #VALUE!

## Finishing sub Detail (2) (hidden)
Steps - 1 | [9 empty] | 13324298.8812
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Excavation, |  | #VALUE! | M3 | 105.1 | #VALUE!
2 | PCC 1:4:8 |  | #VALUE! | M3 | 2890.3 | #VALUE!
3 | RCC 1:2:4 in Footing |  | #VALUE! | M3 | 4699.95 | #VALUE!
4 | RCC 1:2:4 in Plint beam, Neck column |  | #NAME? | M3 | 5261.5 | #NAME?
5 | Mild Steel |  | #NAME? | T | 82234.55 | #NAME? | 21% cost of Foudation | #VALUE!
6 | Back Filling |  | #VALUE! | M3 | 104.55 | #VALUE!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
1828097.2107
Steps - 2
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs) |  |  | #REF!
1 | RCC 1:2:4 in beam and slab |  | #NAME? | M2 | 5261.5 | #NAME?
2 | Mild Steel |  | #NAME? | T | 82234.55 | #NAME?
3 | Sand Filling |  | #VALUE! | M3 | 712.91 | #VALUE!
4 | PCC 1:3:6 |  | #VALUE! | M2 | 2890.3 | #VALUE!
6 | Electrical Conduits 33 % |  |  |  |  | #REF!
| Total |  |  |  |  | #NAME?
| ADD 8% Location Factor |  |  |  |  | #NAME?
| TOTAL |  |  |  |  | #NAME?
| ADD 28% Primium |  |  |  |  | #NAME?
| NET TOTAL |  |  |  |  | #NAME?
| Add 0.5% Contigency |  |  |  |  | #NAME?
| In Million |  |  |  |  | #NAME?
Steps - 3
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Brick work in G/F |  | #VALUE! | M3 | 3925.2 | #VALUE!
2 | Steel Chokat |  | #VALUE! | M2 | 1053.93 | #VALUE!
3 | Steel Window |  | #VALUE! | M2 | 4635.02 | #VALUE!
4 | Wooden Joinery |  | #VALUE! | M2 | 6971.16 | #VALUE!
5 | Marble Flooring |  | #REF! | M2 | 1494.14 | #REF!
6 | Marble Skirting |  | #VALUE! | M2 | 596.56 | #VALUE!
7 | Plaster 1/2" |  | #REF! | M2 | 123.61 | #REF!
8 | Plaster 3/8" |  | #VALUE! | M2 | 144.68 | #VALUE!
9 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
Steps - 4
S.No. | Description |  | Quantity | Unit | Rate (Rs) | Amount (Rs)
1 | Finishing |  |  |  |  | #VALUE!
2 | Electrical Conduits 20 % | 33% |  |  |  | #REF!
| Total |  |  |  |  | #VALUE!
| ADD 8% Location Factor |  |  |  |  | #VALUE!
| TOTAL |  |  |  |  | #VALUE!
| ADD 28% Primium |  |  |  |  | #VALUE!
| NET TOTAL |  |  |  |  | #VALUE!
| Add 0.5% Contigency |  |  |  |  | #VALUE!
| In Million |  |  |  |  | #VALUE!
#VALUE!