## GBELS JALAL INDHAR (418010340)
GBELS JALAL INDHAR, Semis Code (418010340) UC , Tehsil (pano akil) District (Sukkur)
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 Retrofitting of Schools Wash Facilities
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Main Hole, WC, etc. | 4 | job
2 | Solar Powered Water Pump Motor 700L/H Brushless Magnetic ¦ Energy saving water pumps (12Volt) (8 watts) | 1 | No.
3 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | JOB
4 | Handsoap dispenser for hand wash facility to be installed plastic) | 2 | Job
5 | light-emitting diode (LED), bulbs for functioning | 3 | No.s
6 | Supply of plastic mug and bucket set, made of durable, high-quality plastic, suitable for daily use, complete and ready for use as approved by the Engineer. | 2 | Job
7 | Flexible UPVC tube pipe for supply of watering purpose | 100 | RFT
8 | Wash Basin with accessories i.e. Tailpiece, P Trap, Drain elbow, Drain pipe, tap faucet etc | 1 | JOB
9 | Fitting wire for room electricity supplication purpose, (30 ft) | 1 | No.s
10 | Providing and fixing chromium plated (CP)bib-cock (Tab) heavy duty of approved quality : 1.5 cm 1/2" | 3 | No.
11 | Solar plate provision for electricity supplication in classrooms etc, (250 watt) | 2 | No.s
TOTAL