## GBELS NOONARI
GBELS Noonari SEMIS CODE (418050102), DISTRICT SUKKUR
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 Retrofitting of Schools Wash Facilities
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Cleaning work with Main Hole, WC, etc. | 2 | job
2 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | JOB
3 | Handsoap dispenser for hand wash facility to be installed plastic) | 1 | Job
4 | Supply of plastic mug and bucket set, made of durable, high-quality plastic, suitable for daily use, complete and ready for use as approved by the Engineer. | 2 | Job
5 | Wash Basin with accessories i.e. Tailpiece, P Trap, Drain elbow, Drain pipe, tap faucet etc | 1 | JOB
6 | LED-Bulbs for wash area | 3 | Job
7 | Plastic Dustbin durable quality for the removal of debris Trash | 1 | No.s
8 | Solar Powered Water Motor 700L/H Brushless Magnetic ¦ Energy saving water pumps (12Volt) (8 watts) | 1 | No.
9 | Water hand pump repair kits include replacement plunger gaskets (often leather or rubber), valves, and seals | 1 | No.s
10 | Plastic Water Tank (Vertical 3'-3') capacity of 150 lit | 1 | JOB
11 | Knob type plastic outdoor water faucet supplication of water | 3 | No.s
12 | Steel durable, often-used, load-bearing Rectangular Mainhole cover (8*10 ft) | 1 | FT
TOTAL