## GGHS ABAD LAKHA
GGHS ABAD LAKHA , Semis Code (418050130) UC , Tehsil (New Sukkur) District (Sukkur)
First Emergency Response For Pakistan Anticipatory Action Pilot Under ECW
Activity No. 7.3 Retrofitting of Schools Wash Facilities
S.No. | Description | Quantity | Unit | Rate (Rs) | Amount (Rs) | Remarks
1 | Water hand pump repair kits include replacement plunger gaskets (often leather or rubber), valves, and seals | 1 | No.s
2 | Solar Powered Water Pump Motor 700L/H Brushless Magnetic ¦ Energy saving water pumps (12Volt) (8 watts) | 1 | No.
3 | providing and fixing glazed earthen ware hand wash basin (WHB/Venity/Polo) white in color of bright or equivalent complete size 56x16”) including pedestal bracket set side pillar cook stop covk waste coupling 1-1/4” strainers 1-1/4” drain pipe soap and soap dish complete in all respects | 1 | JOB
4 | Supply and installation of washroom mirror of size 2' × 1', made of high-quality clear glass with polished edges, fixed with approved fittings, complete in all respects and approved by the Engineer. | 1 | JOB
5 | Plastic Water Tank (Vertical 26"-40") capacity of 300 lit | 1 | JOB
6 | Cleaning work with Main Hole, WC, etc. | 2 | job
7 | Handsoap dispenser for hand wash facility to be installed plastic) | 1 | Job
8 | Solar Inverter Device for Solar plate running | 1 | No.s
TOTAL